## Sheet1
Pressure Formula: | y=100-100/2^(x/8.09829746) |  |  |  |  | Refrigerant: | R600A | R1234ZE | Engas M30 | R152A | Minus30EC | R134A | R1234YF | Minus30 | R290 | Engas M50 | R22 | Minus50 | R454C | R407C | Engas M20 | Engas M60 | R1270 | HC32 | R404A | Minus60 | R410A | R32 | R170 | R744
X = % charged, Y = Pressure % | [5 empty] | kPag @ 20°C | 201 | 325 | 418.72 | 413 | 489 | 470 | 490 | 540 | 735 | 780.7 | 807 | 866 | 849 | 858.5 | 894.42 | 908.39 | 919 | 950 | 991 | 1058 | 1353 | 1372 | 3664.1 | 5627.7
Refrigerant pressure (kPag): | 3664.1 | The highest pressure compoent of a refrigerant blend (eg. R170)
Target pressure (kPag): | 950 | The highest overall pressure of the gas blend (eg. HC32)
Target Pressure % | 25.9272
Y = (Test result): | 25.9272
X = (%, Amend until B6 = B5): | 3.5064
Findings:
Product:
|  |  | Hychill Minus 50 | %R170: | 3.1503
R410A Test: |  |  | Hychill Minus 60 | %R170: | 3.9809
Formula: | y=100-100/2^(x/8.09829746) |  | Engas M50 | %R170: | 2.7995
X = % charged, Y = Pressure % |  |  | Hychill HC32 | %R170: | 3.5064
Refrigerant pressure (kPag): | 1372 |  | Hychill Minus 30 | %R290 | 15.5023
Target pressure (kPag): | 1353 |  | Hychill Minus 30 EC | %R290 | 12.7879
Target Pressure % | 98.6152 |  | Engas M30 | %R290 | 9.8519
Y = (Test result): | 98.6152
X = (Manual, brute force, %): | 50
Alternative formulas:
y=100-100/2.35353197^(x/10)
Info & Disclaimer: | [7 empty] | www.desmos.com/calculator
www.hydrocarbonconspiracy.info
Facebook: "Hydrocarbon Conspiracy"
Please check the main PDF document and other resources!
My technical research is based on much analysis of publicly available data, but isn’t endorsed by any of the hydrocarbon gas manufacturers.
Not endorsed by the hydrocarbon refrigerant manufacturers.